## Table of Contents
CHEMICALOGIC
MoistAirTab™ Examples
Thermodynamic Properties of Moist Air (Psychrometrics)
1
2
3
4
5
6
7
8
Moisture Content
Mixing Streams
Heating
Cooling
Humidification
Air Dehydration
Solids Drying
Multistage Compression

## Moisture Content
Moisture Content
Problem:
Moist air exists at a dry-bulb temperatuer of 40°C and a
wet-bulb temperature of 20°C at standard atmospheric
pressure.
1. What are different ways to express the moisture content
2. What are the other thermodynamic properties
Solution:
Input Conditions | Units
Dry bulb temperature | °C | 40
Wet bulb temperature | °C | 20
Total pressure | bar | 1.0132
1. Expressions of Moisture Content:
Relative humidity | % | #VALUE!
Humidity ratio | kgw/kgdry air | #VALUE!
Dew point temperature | °C | #VALUE!
Water mole fraction |  | #VALUE!
Water weight fraction |  | #VALUE!
Parital pressure of water | bar | #VALUE!
2. Thermodynamic Properties of Moist Air
Enthalpy | kJ/kgdry air | #VALUE!
Entropy | kJ/(kgdry air.K) | #VALUE!
Volume | m3/kgdry air | #VALUE!
Table of Contents

## Mixing Streams
Mixing Steams: Adiabatic Mixing of Moist Air Streams
Problem:
A stream of 2 m3/s of outdoor air at 4°C dry-bulb temperature and
2°C wet-bulb temperature is mixed with 6.25 m3/s of
recirculated air at 25°C dry-bulb and 50% relative humidity.
What is the dry-bulb, wet-bulb temperatures and relative humidity of
the mixed stream?
Soution: | Units | Steam-1 | Stream-2 | Mixture
Total pressure | bar | 1.0132 | 1.0132 | 1.0132
Moist air volumetric flow rate | m3/s | 2 | 6.25 | #VALUE!
Dry bulb temperature | °C | 4 | 25 | #VALUE!
Wet bulb temperature | °C | 2 | #VALUE! | #VALUE!
Relative humidity | % | #VALUE! | 50% | #VALUE!
Obtain the mixed stream's humidity ratio:
Specific volume (dry air) | m3/kgdry air | #VALUE! | #VALUE! | #VALUE!
Mass flow rate (dry air) | kgdry air/s | #VALUE! | #VALUE! | #VALUE!
Humidity ratio | kgw/kgdry air | #VALUE! | #VALUE! | #VALUE!
Moisture flowrate | kgw/s | #VALUE! | #VALUE! | #VALUE!
Obtain the mixed stream's specific humidity:
Specific enthalpy of moist air | kJ/kgdry air | #VALUE! | #VALUE! | #VALUE!
Enthalpy flow | kJ/s | #VALUE! | #VALUE! | #VALUE!
Table of Contents

## Heating
Heating
Problem:
Moist air, saturated at 2°C, enters a heating coil at a rate of 10 m3/s.
Air leaves the coil at 40°C. Find the required rate of heat addition.
Soution: | Units | Inlet | Outlet
Total pressure | bar | 1.0132 | 1.0132
Dry bulb temperature | °C | 2 | 40
Wet bulb temperature | °C | 2 | #VALUE!
Volume flow rate | m3/s | 10 | #VALUE!
Humidity ratio | kgw/kgdry air | #VALUE! | #VALUE!
Volume of moist air | m3/kgdry air | #VALUE! | #VALUE!
Mass flowrate (dry air) | kgdry air/s | #VALUE! | #VALUE!
Enthalpy of moist air | kJ/kgdry air | #VALUE! | #VALUE!
Total enthalpy flow | kJ/s | #VALUE! | #VALUE!
Heat added | kW |  | #VALUE!
Table of Contents

## Cooling
Cooling
Problem:
Moist air at 30°C dry-bulb temperature and 50% relative humidity enters
a cooling coil at 5 m3/s and is processed to a final saturation condition
at 10°C. Find the kW of refrigeration required.
Soution: | Units | Inlet | Outlet
Total pressure | bar | 1.0132 | 1.0132
Dry bulb temperature | °C | 30 | 10
Relative humidity | % | 50% | 100%
Volume flow rate | m3/s | 5
Wet bulb temperature | °C | #VALUE! | 10
Humidity ratio | kgw/kgdry air | #VALUE! | #VALUE!
Volume of moist air | m3/kgdry air | #VALUE! | #VALUE!
Mass flowrate (dry air) | kgdry air/s | #VALUE! | #VALUE!
Enthalpy of moist air | kJ/kgdry air | #VALUE! | #VALUE!
Enthalpy flow |  | #VALUE! | #VALUE!
Amount of condensate removed | kgw/kgdry air |  | #VALUE!
Condensate flowrate | kgw/s |  | #VALUE!
Condensate specific enthalpy | kJ/kgw |  | #VALUE!
Condensate enthalpy flow | kJ/s |  | #VALUE!
Referigeration required | kW |  | #VALUE!
Table of Contents

## Humidification
Humidification
Problem:
Steam (or liquid water) injection is frequently used in air conditioning for humidification.
Moist air at 20oC db and 8oC wb is being humidified by injecting saturated steam at
110°C to a final stream with a dew point of 13°C. The rate of dry air flow is 2 kg/s.
What is the final db of the moist air and what is the steam injection rate?
Soution:
Key concepts:.
1. Adiabatic mixing assumes that no net gain or loss of total energy in the mixing process
2. The dew point temperature specifies the moisture content in the final mixture.
Overall Enthalpy balance | mair h1 + mw hw = mair h2 |  | (1)
Water balance | mair W1 + mw = mair W2
or | mw = mair (W2 - W1) |  | (2)
From (1) and (2) | (h2-h1)/(W2-W1) = hw
or | h2 = hw (W2-W1) + h1 |  | (2a)
| Units | Moist Air | Steam | Outlet Mixture
Pressure | bar | 1.0132 | 1.0132 | 1.0132
Dry air flowrate | kgdry air/s | 2 |  | 2
Dry bulb temperature | oC | 20 | 110 | #VALUE!
Wet bulb temperature | oC | 8 |  | #VALUE!
Dew Point temperature | oC | #VALUE! |  | 13
Humidity ratio | kgw/kgdry air | #VALUE! |  | #VALUE!
Enthalpy of moist air | kJ/kgdry air | #VALUE! | #VALUE! | #VALUE! | solved by equation (2a)
Relative humidity | % | #VALUE! |  | #VALUE!
Steam flowrate | kg/s |  | #VALUE! |  | solved by equation (2)
Table of Contents

## Air Dehydration
Air Dehydration
Problem:
Ambient air at 85oF and 760 mm Hg and 55% relative humidity is
compressed to 10 atm (gauge) to supply a requirement for 250 lb/hr
of air (dry basis). The mixture is cooled in a condenser to remove
90% of the original moisture content. The air stream is further
dehydrated to -10oF dew point (at the line pressure) in a desiccant
dryer. The pressure drop in condenser and desiccant dryer is 5 psi
each. The isentropic efficiency of the air compressor is 85%.
1. To what temperature must the air stream be cooled in the condenser?
2. How much water needs to be removed in the desiccant dryer?
Solution: | Units | Ambient Air | Compressor Outlet | Condenser Outlet | Desiccant Dryer Outlet
Flow rate (dry air) | lbdry air/hr | 250 | 250 | 250 | 250
Moisture removal | % |  |  | 90%
Pressure | mm Hg | 760
| atm |  | 11
| psia | 14.69 | 161.59 | 156.59 | 151.59
Releative humidity | % | 55% |  | 100%
Dry bulb temperature | °F | 85 |  | #VALUE!
Dew point temperature | °F | #VALUE! |  |  | -10
Humidity ratio | lbw/lbdry air | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Moisture flow | lbw/hr | #VALUE! |  | #VALUE! | #VALUE!
Moisture removal | lbw/hr |  |  | #VALUE! | #VALUE!
Table of Contents

## Solids Drying
Solids Drying: Process Simulation of a Hot Air Solids Dryer
Problem:
A continuous hot air drying system is employed to remove 3,500 lb
of moisture per hour from the solid stock being dried. The system
consists of a low-head fan, a steam-heated air heater, and a rotary drum dryer.
The ambient air, under the design condition of 68oF, 760 mmHg and a
relative humidity of 40%, is pressurized by an axial fan unit to 775 mmHg.
The fan unit has an adiabatic efficicency of 70%. The steam heater
would preheat the to 175°F with a pressure drop of 10 mm Hg;
The air emerges from the drier at 95°F, a pressure of 755 mm Hg
and a relative humidity of 90%. Seek to define all process units involved
in terms of energy requirement, sizing, and flow rates.
Solution:
State Point | Unit | 1 | 2 | 3 | 4 | Overall
Location |  | Ambient Air | Fan Outlet | Heater Outlet | Dryer Outlet | Summary
Pressure | mm Hg | 760 | 775 | 765 | 755
| psia | 14.6974 | 14.9874 | 14.794 | 14.6007
Dry bulb temperature | oF | 68 | #VALUE! | 175 | 95
Relative humidity | % | 40% |  |  | 90%
Humidity ratio | lbw/lbdry air | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Total moisture removed | lbw/hr |  |  |  |  | 3500
Moisture removal capacity | lbw/lbdry air |  |  |  |  | #VALUE!
Air flowrate (dry basis) | lbdry air/hr |  |  |  |  | #VALUE!
Entropy of moist air | Btu/(lbdry air.°F) | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Enthalpy of moist air | Btu/lbdry air | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Adiabtic efficiency | % |  | 70%
Entropy (Ideal) of moist air | Btu/(lbdry air.°F) |  | #VALUE!
Enthalpy (Ideal) of moist air | Btu/lbdry air |  | #VALUE!
Enthalpy Difference (Ideal) | Btu/lbdry air |  | #VALUE!
Enthalpy Difference (Real) | Btu/lbdry air |  | #VALUE!
Enthalpy of moist air (calc.) | Btu/lbdry air |  | #VALUE!
Energy Input | Btu/lbdry air |  | #VALUE! |  |  | #VALUE!
Motor | kW/lbdry air |  | #VALUE! |  |  | #VALUE!
Specific volume of moist air | ft3/lbdry air | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Volumetric flow rate | ACFH | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| ACFM | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Table of Contents

## Multistage Compression
Multistage Compressor
Problem:
Air at 80°F, 740 mm Hg pressure and 55% relative humidity is compressed to
10 atm (gauge) in a 3-stage air compressor. The isentropic efficiency of the air
compressor for each stage is 85%. Cooler/condensers are used to reduce the
stage discharge temperature to 80°F. The pressure drop for each cooler is 3 psi.
The compressed air flowrate is 25,000 lb/hr.
1. What is the discharge temperature of the compressor (before any cooling)?
2. What is the total brake horsepower required?
Solution: |  | Inlet | 1st Stage |  | 2nd Stage |  | 3rd Stage |  | Overall
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7
| Units | Ambient Air | 1st Stage Compressor Outlet | 1st Stage Condenser Outlet | 2nd Stage Compressor Outlet | 2nd Stage Condenser Outlet | 3rd Stage Compressor Outlet | 3rd Stage Condenser Outlet | Summary
Flow rate | lb/hr | 25000 | 25000 | 25000 | 25000 | 25000 | 25000 | 25000 | 25000
Compression ratio |  | 2: 2.2438; 4: 2.2438; 6: 2.2438 | 11.2973
Number of stages | [8 empty] | 3
Pressure | mm Hg | 1: 740
| atm | 0.97368 | 2.1848 | 1.9807 | 4.9023 | 4.6982 | 11 | 10.7959
| psia | 14.3102 | 32.1099 | 29.1099 | 72.0493 | 69.0493 | 161.667 | 158.667
Pressure drop | psia | 3: 3; 5: 3; 7: 3
Temperature | °F | 80 | #VALUE! | 80 | #VALUE! | 80 | #VALUE! | 80
Relative humidity | % | 55% | #VALUE! | 100% | #VALUE! | 100% | #VALUE! | 100%
Humidity ratio | lbw/lbdry air | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Moisture condensed | lbw/hr | 3: #VALUE!; 5: #VALUE!; 7: #VALUE!
Isentropic efficiency |  | 2: 87%; 4: 87%; 6: 87%
Entropy of moist air | Btu/(lbdry air.°F) | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Enthalpy of moist air | Btu/lbdry air | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Entropy (Ideal) | Btu/lbdry air | 2: #VALUE!; 4: #VALUE!; 6: #VALUE!
Enthalpy (Ideal) | Btu/lbdry air | 2: #VALUE!; 4: #VALUE!; 6: #VALUE!
Enthalpy Difference (Ideal) | Btu/lbdry air | 2: #VALUE!; 4: #VALUE!; 6: #VALUE!
Enthalpy Difference (Real) | Btu/lbdry air | 2: #VALUE!; 4: #VALUE!; 6: #VALUE!
Specific volume of moist air | ft3/lbdry air | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Volumetric flow rate | ACFM | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Power Input | Btu/hr | 2: #VALUE!; 4: #VALUE!; 6: #VALUE!
Brake Horsepower | HP | 2: #VALUE!; 4: #VALUE!; 6: #VALUE! | #VALUE!
Condenser Duty | Btu/hr | 3: #VALUE!; 5: #VALUE!; 7: #VALUE!
Temp rise in cooling water | oF | 3: 15; 5: 15; 7: 15
Cooling water consumption | GPM | 3: #VALUE!; 5: #VALUE!; 7: #VALUE! | #VALUE!
Table of Contents